Subcontractor Name:       Project Title and Subcontract Number:

Description of planned activities/tasks for the scope-of-work for the entire project.

|  |  |  |
| --- | --- | --- |
| Hazard / Regulatory Requirements | ES&H Clause | Worker Information and Requirements |
| Flammable/Combustible Hazardous MaterialsNFPA-30, NFPA-54, NFPA-55, NFPA-58, NFPA-59A, and 29 CFR 1910, Subpart | Seller shall store, dispense and handle flammable and combustible hazardous materials in accordance with NFPA-30, NFPA-54, NFPA-55, NFPA-58, NFPA-59A, and 29 CFR 1910, Subpart H. | Store flammable and combustible liquids in approved containers.Workers Comply with container labeling requirements.Do not store flammable and combustible liquids with combustible materials or other incompatible materials.Workers do not store flammable and combustible liquids in stairwells or corridors.Limit quantities of flammable and combustible liquids outside of storage areas to the minimum required for use.Keep flammable or combustible liquids in the smallest container that is practical for conducting the workOnly use, transfer and dispense flammable or combustible liquids in areas where engineered and administrative controls are provided to prevent ignition of the vapors and to mitigate a health hazard to the staff.Provide regular surveillance for operations involving flammable and combustible liquids. |

**Subcontractor Activity Hazard Analysis (AHA)**

| Activity | Hazard | Controls |
| --- | --- | --- |
|       |       | **Elimination, substitution, engineering controls**:[ ]  HEPA-Filtered vacuum cleaner [ ]  Laboratory hood or glove box [ ]  Air Handler, HEPA filtered [ ]  Shrouded tool with HEPA filter [ ]  Continuous wetting (dust control) [ ]  Containment[ ]  Isolation [ ]  General Ventilation [ ]  Other Local Exhaust System:      Other: Specify below      |
| **Administrative controls** (work methods, training, medical, etc.):      |
| **Personal protective equipment** - specify the exact type of PPE (e.g. hearing protection device with minimum NRR of 20 dBA, Ansell Nitrile SOL-VEX gloves, etc.):      |

AHA Author:       Date:

|  |
| --- |
| Technical Procurement Officer (TPO) signature indicates approval of activity-specific hazard controls identified in the subcontractor AHA. It is recommended that the applicable Qualified Health and Safety Professional (QHSP) be consulted, when the TPO is unfamiliar with the hazard, to assist in reviewing the adequacy of controls specified in this document.Printed Name/Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date\_\_\_\_\_\_\_\_\_\_\_\_\_  |